## Samples
batchID | Exp_Type | buffer_position | Vial | Sample Name | Volume | Slot | Buffer | Acq. method | Sample Type | Run Time | Flow Rate | Column type | Proc. method | Injection source | Data file | Inj/Vial | Valve Position
a3 | X-ray_only | 1 | D1F-C03 | BSA_30mg_20ul | 20 | col_pos1 | PBS | test.amx | Sample | 4 | 0.3 | no_column | CSV_ADF_export.pmx | HipAls | a | 1 | A
a4 | X-ray_only | 1 | D1F-C03 | BSA_30mg_20ul_B | 20 | col_pos1 | PBS | test.amx | Sample | 4 | 0.3 | no_column | CSV_ADF_export.pmx | HipAls | a | 1 | A
a5 | X-ray_only | 1 | D1F-C03 | BSA_30mg_50ul | 50 | col_pos2 | Water | test.amx | Sample | 4 | 0.3 | no_column | CSV_ADF_export.pmx | HipAls | a | 1 | A
a6 | X-ray_only | 1 | D1F-C03 | BSA_30mg_50ul_test_result | 1 | col_pos1 | Water | test.amx | Sample | 4 | 0.3 | no_column | CSV_ADF_export.pmx | HipAls | a | 1 | A
a6 | X-ray_Regen | 1 | D1F-C03 | BSA_30mg_50ul_test_result | 1 | col_pos2 | Water | test.amx | Sample | 4 | 0.3 | no_column | CSV_ADF_export.pmx | HipAls | a | 1 | A
a7 | X-ray_UV | 2 | D1F-A04 | BSA_6mg_sept_18 | 50 | col_pos2 | Hepes pH8 150mM Nacl 5%glycerol 1mM TCEP | superose6_5_150_channel_A.amx | Sample | 15 | 0.3 | Superose6_5_150 | CSV_ADF_export.pmx | HipAls | a | 1 | A

## Info
Instructions:
1. Do not change the header line in the Samples sheet.
2. Do not change this sheet other than the method listing below.
2. List only valid method files (starting on row 10), and fill in the correct parameters for the method.
valid Vial Names | DF1-***
1
valid methods | # | Acq. method | ColumnID | Column Type | Run Time | Flow Rate A | Proc. method | Injection source | Data file | Inj/Vial | Valve Position
should be column_type, flowrate, time(min) | 1 | Injection_5.amx | 1 | GE Superdex Increase 200 5/150 GL | 12 | 0.5 | processing_test_AIA.pmx | HipAls | a | 1 | A
| 2 | superdex_200_5_150_old.amx | 1 | GE Superdex Increase 200 5/150 GL | 12 | 0.35 | CSV_ADF_export.pmx | HipAls | a | 1 | A
| 3 | dSEC2B.amx | 1 | dSEC2 | 15 | 0.35 | CSV_ADF_export.pmx | HipAls | a | 1 | B
| 4 | superdex_5_150_channel_B.amx | 1 | GE Superdex Increase 200 5/150 GL | 15 | 0.3 | CSV_ADF_export.pmx | HipAls | a | 1 | B
| 5 | noUV_lamp.amx | 1 | None | 5 | 0.35 | CSV_ADF_export.pmx | HipAls | a | 1 | check
| 6 | superdex_5_150.amx | 1 | GE Superdex Increase 200 5/150 GL | 20 | 0.35 | CSV_ADF_export.pmx | HipAls | a | 1 | A
| 7 | dSEC2_035_25min.amx | 1 | dSEC2 | 15 | 0.35 | CSV_ADF_export.pmx | HipAls | a | 1 | B
| 8 | Sepharose4B.amx | 1 | Sepharose4B | 40 | 0.1 | CSV_ADF_export.pmx | HipAls | a | 1 | check
| 9 | test.amx | 1 | no_column | 4 | 0.3 | CSV_ADF_export.pmx | HipAls | a | 1 | A
| 10 | superdex_10_300_channel_C.amx | 1 | GE Superdex Increase 200 10/300 GL | 40 | 0.75 | CSV_ADF_export.pmx | HipAls | a | 1 | A
| 11 | superdex_200_3.2_300.amx | 1 | Superdex 200 Increase 3.2 300 | 40 | 0.075 | CSV_ADF_export.pmx | HipAls | a | 1 | B
| 12 | superdex_5_150_channel_C.amx | 1 | GE Superdex Increase 200 5/150 GL | 12 | 0.35 | CSV_ADF_export.pmx | HipAls | a | 1 | A
| 13 | superdex_10_300_channel_B.amx | 1 | GE Superdex Increase 200 10/300 GL | 50 | 0.5 | CSV_ADF_export.pmx | HipAls | a | 1 | B
| 14 | dsec7_optimize.amx | 1 | dSEC7 | 15 | 0.35 | CSV_ADF_export.pmx | HipAls | a | 1 | B
| 15 | Tosh_Kushol.amx | 1 | Tosch | 15 | 0.5 | CSV_ADF_export.pmx | HipAls | a | 1 | B
| 16 | agilent_bio_sec5.amx | 1 | dsec5 | 25 | 0.4 | CSV_ADF_export.pmx | HipAls | a | 1 | A
| 17 | tosch_omar.amx | 1 | Tosch | 30 | 0.5 | CSV_ADF_export.pmx | HipAls | a | 1 | A
| 18 | superose6_5_150_channel_A.amx | 1 | Superose6_5_150 | 15 | 0.3 | CSV_ADF_export.pmx | HipAls | a | 1 | A
| 19 | superdex75_5_150_channel_A.amx | 1 | GE Superdex Increase 75 5/150 GL | 15 | 0.3 | CSV_ADF_export.pmx | HipAls | a | 1 | A
valid column type |  | GE Superdex Increase 75 5/150 GL
GE Superdex Increase 75 10/300 GL
GE Superdex Increase 200 5/150 GL
GE Superdex Increase 200 10/300 GL
None
dSEC2
Sepharose4B
Superdex 200 Increase 3.2 300
dSEC7
Tosch
dsec5
Superose6_5_150
Sample Type |  | Sample
Blank
Cal. Std.
Sys Suit
Other valid name of columns
Exp_Type |  | X-ray_only
X-ray_Regen
X-ray_UV
X-ray_UV_MALS_RID
Slot | col_pos1
col_pos2

## Agilent_Tray_format
96-well Format
D1F-A01 | D1F-B01 | D1F-C01 | D1F-D01 | D1F-E01 | D1F-F01 | D1F-G01 | D1F-H01
D1F-A02 | D1F-B02 | D1F-C02 | D1F-D02 | D1F-E02 | D1F-F02 | D1F-G02 | D1F-H02
D1F-A03 | D1F-B03 | D1F-C03 | D1F-D03 | D1F-E03 | D1F-F03 | D1F-G03 | D1F-H03
D1F-A04 | D1F-B04 | D1F-C04 | D1F-D04 | D1F-E04 | D1F-F04 | D1F-G04 | D1F-H04
D1F-A05 | D1F-B05 | D1F-C05 | D1F-D05 | D1F-E05 | D1F-F05 | D1F-G05 | D1F-H05
D1F-A06 | D1F-B06 | D1F-C06 | D1F-D06 | D1F-E06 | D1F-F06 | D1F-G06 | D1F-H06
D1F-A07 | D1F-B07 | D1F-C07 | D1F-D07 | D1F-E07 | D1F-F07 | D1F-G07 | D1F-H07
D1F-A08 | D1F-B08 | D1F-C08 | D1F-D08 | D1F-E08 | D1F-F08 | D1F-G08 | D1F-H08
D1F-A09 | D1F-B09 | D1F-C09 | D1F-D09 | D1F-E09 | D1F-F09 | D1F-G09 | D1F-H09
D1F-A10 | D1F-B10 | D1F-C10 | D1F-D10 | D1F-E10 | D1F-F10 | D1F-G10 | D1F-H10
D1F-A11 | D1F-B11 | D1F-C11 | D1F-D11 | D1F-E11 | D1F-F11 | D1F-G11 | D1F-H11
D1F-A12 | D1F-B12 | D1F-C12 | D1F-D12 | D1F-E12 | D1F-F12 | D1F-G12 | D1F-H12
Vial Format